## primax - primax_range_all
primax_range_all
SKU | model | brand | product | description | long_description | width | width_unit | depth | depth_unit | height | height_unit | weight | weight_unit | price | sale_price | currency | stock | stock_status | category | tags | EAN | tax_class | shipping_class | product_type | parent_SKU | attribute_1_name | attribute_1_value | attribute_2_name | attribute_2_value | attribute_3_name | attribute_3_value | attribute_4_name | attribute_4_value | attribute_5_name | attribute_5_value | attribute_6_name | attribute_6_value | status | video_url | image | image_2 | image_3 | datasheet_url | manual_url | technicalmanual_url | drawing_url | catalogue_url | photo_url | card_url | brandcatalogue_url | price_url
CKNPMXBF-R031 | BF-R031 | PRIMAX | Blast Chiller - Shock Freezer PRIMAX levels 3 GN1/1 | PRIMAX Blast Chiller Fast Line 3 levels GN1/1 with 67 mm pitch. Refrigerant gas R290. High density polyurethane foam insulation 60 mm thick. Electronic membrane control, programmable. Conical core probe included. Heating element to ensure perfect adherence of the door gasket. Manual defrosting. | Essential excellence blast chiller with 3 levels GN1/1 capacity. AISI 304 stainless steel construction with scotch-brite finish exterior and polished interior. High density polyurethane foam insulation 50mm thick. Electronic membrane control with pre-cooling blast chilling and shock freezing functions. | 620 | mm | 670 | mm | 670 | mm | 52 | Kg | 3050 |  | EUR |  | instock | cold equipment>blast chiller | Primax, cold equipment, blast chiller |  |  |  | simple |  | Yield Blast Chilling | 8 kg/cicle | Yield Shock Freezing | 5 kg/cicle | power | 0.727 kW | voltage | 230/1/50 | refrigerant gas | R290 |  |  | active | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_video_BF-R031.mp4 | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_BF-R031.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_2_BF-R031.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_3_BF-R031.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_datasheet_BF-R031.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_manual_BF-R031.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_technicalmanual_BF-R031.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_drawing_BF-R031.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_catalogue_BF-R031.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_photo_BF-R031.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_card_BF-R031.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_brandcatalogue.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_price.pdf
CKNPMXBF-R051 | BF-R051 | PRIMAX | Blast Chiller - Shock Freezer PRIMAX levels 5 GN1/1+600x400 | PRIMAX Blast Chiller Fast Line 5 levels GN1/1+ 600x400 with 67 mm pitch. Refrigerant gas R290. High density polyurethane foam insulation 60 mm thick. Electronic membrane control, programmable. Conical core probe included. Heating element to ensure perfect adherence of the door gasket. Manual defrosting. | Fast line blast chiller with 5 levels GN1/1-EN1 capacity. AISI 304 stainless steel construction with scotch-brite finish exterior and polished interior. High density polyurethane foam insulation 60mm thick. Electronic membrane control with pre-cooling blast chilling and shock freezing functions. | 790 | mm | 720 | mm | 860 | mm | 79 | Kg | 3880 |  | EUR |  | instock | cold equipment>blast chiller | Primax, cold equipment, blast chiller |  |  |  | simple |  | Yield Blast Chilling | 12 kg/cicle | Yield Shock Freezing | 8 kg/cicle | power | 0.94 kW | voltage | 230/1/50 | refrigerant gas | R290 |  |  | active | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_video_BF-R051.mp4 | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_BF-R051.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_2_BF-R051.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_3_BF-R051.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_datasheet_BF-R051.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_manual_BF-R051.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_technicalmanual_BF-R051.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_drawing_BF-R051.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_catalogue_BF-R051.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_photo_BF-R051.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_card_BF-R051.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_brandcatalogue.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_price.pdf
CKNPMXBF-R101 | BF-R101 | PRIMAX | Blast Chiller - Shock Freezer PRIMAX levels 10 GN1/1+600x400 | PRIMAX Blast Chiller Fast Line 10 levels GN1/1+ 600x400 with 67 mm pitch. Refrigerant gas R290. High density polyurethane foam insulation 60 mm thick. Electronic membrane control, programmable. Conical core probe included. Heating element to ensure perfect adherence of the door gasket. Manual defrosting. | Fast line blast chiller with 10 levels GN1/1-EN1 capacity. AISI 304 stainless steel construction with scotch-brite finish exterior and polished interior. High density polyurethane foam insulation 60mm thick. Electronic membrane control with pre-cooling blast chilling and shock freezing functions. | 790 | mm | 820 | mm | 1430 | mm | 128 | Kg | 5710 |  | EUR |  | instock | cold equipment>blast chiller | Primax, cold equipment, blast chiller |  |  |  | simple |  | Yield Blast Chilling | 25 kg/cicle | Yield Shock Freezing | 15 kg/cicle | power | 1.55 kW | voltage | 230/1/50 | refrigerant gas | R290 |  |  | active | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_video_BF-R101.mp4 | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_BF-R101.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_2_BF-R101.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_3_BF-R101.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_datasheet_BF-R101.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_manual_BF-R101.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_technicalmanual_BF-R101.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_drawing_BF-R101.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_catalogue_BF-R101.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_photo_BF-R101.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_card_BF-R101.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_brandcatalogue.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_price.pdf
CKNPMXBT-R031 | BT-R031 | PRIMAX | Blast Chiller - Shock Freezer PRIMAX levels 3 GN1/1 | PRIMAX Blast Chiller Top Line 10 levels GN1/1+ 600x400 with 67 mm pitch. Refrigerant gas R290. High density polyurethane foam insulation 60 mm thick. Electronic touch control, programmable. Conical core probe included. Heating element to ensure perfect adherence of the door gasket. Manual defrosting. | Top line blast chiller with 3 levels GN1/1 capacity and touch control display 5". AISI 304 stainless steel construction with scotch-brite finish exterior and polished interior. High density polyurethane foam insulation 50mm thick. Advanced touch electronic control with HACCP system and 40 programs including 6 pre-set recipes. | 620 | mm | 670 | mm | 670 | mm | 55 | Kg | 3850 |  | EUR |  | instock | cold equipment, blast chiller | Primax, cold equipment, blast chiller |  |  |  | simple |  | Yield Blast Chilling | 12 kg/cicle | Yield Shock Freezing | 8 kg/cicle | power | 0.504 kW | voltage | 230/1/50 | refrigerant gas | R290 |  |  | active | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_video_BT-R031.mp4 | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_BT-R031.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_2_BT-R031.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_3_BT-R031.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_datasheet_BT-R031.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_manual_BT-R031.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_technicalmanual_BT-R031.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_drawing_BT-R031.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_catalogue_BT-R031.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_photo_BT-R031.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_card_BT-R031.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_brandcatalogue.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_price.pdf
CKNPMXBT-R051 | BT-R051 | PRIMAX | Blast Chiller - Shock Freezer PRIMAX levels 5 GN1/1+600x400 | PRIMAX Blast Chiller Top Line 10 levels GN1/1+ 600x400 with 67 mm pitch. Refrigerant gas R290. High density polyurethane foam insulation 60 mm thick. Electronic touch control, programmable. Conical core probe included. Heating element to ensure perfect adherence of the door gasket. Manual defrosting. | Top line blast chiller with 5 levels GN1/1-EN1 capacity and touch control display 5". AISI 304 stainless steel construction with scotch-brite finish exterior and polished interior. High density polyurethane foam insulation 60mm thick. Advanced touch electronic control with HACCP system and 40 programs including 6 pre-set recipes. | 820 | mm | 825 | mm | 880 | mm | 95 | Kg | 4970 |  | EUR |  | instock | cold equipment, blast chiller | Primax, cold equipment, blast chiller |  |  |  | simple |  | Yield Blast Chilling | 18 kg/cicle | Yield Shock Freezing | 12 kg/cicle | power | 1.373 kW | voltage | 230/1/50 | refrigerant gas | R290 |  |  | active | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_video_BT-R051.mp4 | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_BT-R051.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_2_BT-R051.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_3_BT-R051.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_datasheet_BT-R051.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_manual_BT-R051.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_technicalmanual_BT-R051.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_drawing_BT-R051.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_catalogue_BT-R051.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_photo_BT-R051.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_card_BT-R051.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_brandcatalogue.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_price.pdf
CKNPMXBT-R101 | BT-R101 | PRIMAX | Blast Chiller - Shock Freezer PRIMAX levels10 GN1/1+600x400 | PRIMAX Blast Chiller Top Line 10 levels GN1/1+ 600x400 with 67 mm pitch. Refrigerant gas R290. High density polyurethane foam insulation 60 mm thick. Electronic touch control, programmable. Conical core probe included. Heating element to ensure perfect adherence of the door gasket. Manual defrosting. | Top line blast chiller with 10 levels GN1/1-EN1 capacity and touch control display 5". AISI 304 stainless steel construction with scotch-brite finish exterior and polished interior. High density polyurethane foam insulation 60mm thick. Advanced touch electronic control with HACCP system and 40 programs including 6 pre-set recipes. | 820 | mm | 825 | mm | 1690 | mm | 155 | Kg | 6860 |  | EUR |  | instock | cold equipment, blast chiller | Primax, cold equipment, blast chiller |  |  |  | simple |  | Yield Blast Chilling | 36 kg/cicle | Yield Shock Freezing | 25 kg/cicle | power | 2.726 kW | voltage | 230/1/50 | refrigerant gas | R290 |  |  | active | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_video_BT-R101.mp4 | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_BT-R101.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_2_BT-R101.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_3_BT-R101.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_datasheet_BT-R101.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_manual_BT-R101.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_technicalmanual_BT-R101.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_drawing_BT-R101.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_catalogue_BT-R101.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_photo_BT-R101.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_card_BT-R101.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_brandcatalogue.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_price.pdf
CKNPMXBT-P051 | BT-P051 | PRIMAX | Blast Chiller - Shock Freezer PRIMAX levels 5 levels 600x400 | PRIMAX Blast Chiller Top Line 10 levels GN1/1+ 600x400 with 67 mm pitch. Refrigerant gas R290. High density polyurethane foam insulation 60 mm thick. Electronic touch control, programmable. Conical core probe included. Heating element to ensure perfect adherence of the door gasket. Manual defrosting. | Top line pastry blast chiller with 5 levels (600x400) capacity and touch control display 5". AISI 304 stainless steel construction with scotch-brite finish exterior and polished interior. High density polyurethane foam insulation 60mm thick. Advanced touch electronic control with HACCP system and 40 programs including 6 pre-set recipes. | 820 | mm | 825 | mm | 880 | mm | 95 | Kg | 5070 |  | EUR |  | instock | cold equipment, blast chiller | Primax, cold equipment, blast chiller |  |  |  | simple |  | Yield Blast Chilling | 18 kg/cicle | Yield Shock Freezing | 12 kg/cicle | power | 1.373 kW | voltage | 230/1/50 | refrigerant gas | R290 |  |  | active | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_video_BT-P051.mp4 | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_BT-P051.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_2_BT-P051.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_3_BT-P051.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_datasheet_BT-P051.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_manual_BT-P051.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_technicalmanual_BT-P051.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_drawing_BT-P051.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_catalogue_BT-P051.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_photo_BT-P051.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_card_BT-P051.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_brandcatalogue.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_price.pdf
CKNPMXBT-P101 | BT-P101 | PRIMAX | Blast Chiller - Shock Freezer PRIMAX levels 10 levels 600x400 | PRIMAX Blast Chiller Top Line 10 levels GN1/1+ 600x400 with 67 mm pitch. Refrigerant gas R290. High density polyurethane foam insulation 60 mm thick. Electronic touch control, programmable. Conical core probe included. Heating element to ensure perfect adherence of the door gasket. Manual defrosting. | Top line pastry blast chiller with 10 levels (600x400) capacity and touch control display 5". AISI 304 stainless steel construction with scotch-brite finish exterior and polished interior. High density polyurethane foam insulation 60mm thick. Advanced touch electronic control with HACCP system and 40 programs including 6 pre-set recipes. | 820 | mm | 825 | mm | 1690 | mm | 155 | Kg | 7000 |  | EUR |  | instock | cold equipment, blast chiller | Primax, cold equipment, blast chiller |  |  |  | simple |  | Yield Blast Chilling | 36 kg/cicle | Yield Shock Freezing | 25 kg/cicle | power | 2.726 kW | voltage | 230/1/50 | refrigerant gas | R290 |  |  | active | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_video_BT-P101.mp4 | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_BT-P101.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_2_BT-P101.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_3_BT-P101.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_datasheet_BT-P101.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_manual_BT-P101.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_technicalmanual_BT-P101.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_drawing_BT-P101.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_catalogue_BT-P101.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_photo_BT-P101.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_card_BT-P101.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_brandcatalogue.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_price.pdf
CKNPMXRB7RDXXXX1 | RB7RDXXXX1 | PRIMAX | Beverage Counter 1 door | 1 door beverage counter with tub | Beverage counter with 1 door and tub. Monocoque construction in AISI304 stainless steel with Scotch Brite external finish. High density polyurethane foam insulation 60mm thick. Environmentally friendly refrigerant gas R290. Electronic control with visual and audible alarms. | 930 | mm | 685 | mm | 850 | mm |  |  | 2475 |  | EUR |  |  | Beverage Counters | R290,air condensation,electronic control,with tub |  |  |  | simple |  | internal_volume | 210 Lt | temperature_range | +2/+10°C | voltage | 230/1/50 | power | 0.306 kW | refrigerant | R290 |  |  | active | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_video_RB7RDXXXX1.mp4 | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_RB7RDXXXX1.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_2_RB7RDXXXX1.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_3_RB7RDXXXX1.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_datasheet_RB7RDXXXX1.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_manual_RB7RDXXXX1.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_technicalmanual_RB7RDXXXX1.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_drawing_RB7RDXXXX1.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_catalogue_RB7RDXXXX1.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_photo_RB7RDXXXX1.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_card_RB7RDXXXX1.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_brandcatalogue.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_price.pdf
CKNPMXRB7RDXXX11 | RB7RDXXX11 | PRIMAX | Beverage Counter 2 doors | 2 doors beverage counter with tub | Beverage counter with 2 doors and tub. Monocoque construction in AISI304 stainless steel with Scotch Brite external finish. High density polyurethane foam insulation 60mm thick. Environmentally friendly refrigerant gas R290. Electronic control with visual and audible alarms. | 1510 | mm | 685 | mm | 850 | mm |  |  | 3310 |  | EUR |  |  | Beverage Counters | R290,air condensation,electronic control,with tub |  |  |  | simple |  | internal_volume | 462 Lt | temperature_range | +2/+10°C | voltage | 230/1/50 | power | 0.306 kW | refrigerant | R290 |  |  | active | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_video_RB7RDXXX11.mp4 | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_RB7RDXXX11.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_2_RB7RDXXX11.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_3_RB7RDXXX11.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_datasheet_RB7RDXXX11.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_manual_RB7RDXXX11.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_technicalmanual_RB7RDXXX11.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_drawing_RB7RDXXX11.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_catalogue_RB7RDXXX11.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_photo_RB7RDXXX11.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_card_RB7RDXXX11.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_brandcatalogue.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_price.pdf
CKNPMXRB7RDXX111 | RB7RDXX111 | PRIMAX | Beverage Counter 3 doors | 3 doors beverage counter with tub | Beverage counter with 3 doors and tub. Monocoque construction in AISI304 stainless steel with Scotch Brite external finish. High density polyurethane foam insulation 60mm thick. Environmentally friendly refrigerant gas R290. Electronic control with visual and audible alarms. | 2090 | mm | 685 | mm | 850 | mm |  |  | 4275 |  | EUR |  |  | Beverage Counters | R290,air condensation,electronic control,with tub |  |  |  | simple |  | internal_volume | 715 Lt | temperature_range | +2/+10°C | voltage | 230/1/50 | power | 0.329 kW | refrigerant | R290 |  |  | active | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_video_RB7RDXX111.mp4 | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_RB7RDXX111.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_2_RB7RDXX111.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_3_RB7RDXX111.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_datasheet_RB7RDXX111.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_manual_RB7RDXX111.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_technicalmanual_RB7RDXX111.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_drawing_RB7RDXX111.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_catalogue_RB7RDXX111.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_photo_RB7RDXX111.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_card_RB7RDXX111.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_brandcatalogue.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_price.pdf
CKNPMXRB7RDX1111 | RB7RDX1111 | PRIMAX | Beverage Counter 4 doors | 4 doors beverage counter with tub | Beverage counter with 4 doors and tub. Monocoque construction in AISI304 stainless steel with Scotch Brite external finish. High density polyurethane foam insulation 60mm thick. Environmentally friendly refrigerant gas R290. Electronic control with visual and audible alarms. | 2670 | mm | 685 | mm | 850 | mm |  |  | 5130 |  | EUR |  |  | Beverage Counters | R290,air condensation,electronic control,with tub |  |  |  | simple |  | internal_volume | 968 Lt | temperature_range | +2/+10°C | voltage | 230/1/50 | power | 0.557 kW | refrigerant | R290 |  |  | active | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_video_RB7RDX1111.mp4 | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_RB7RDX1111.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_2_RB7RDX1111.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_3_RB7RDX1111.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_datasheet_RB7RDX1111.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_manual_RB7RDX1111.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_technicalmanual_RB7RDX1111.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_drawing_RB7RDX1111.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_catalogue_RB7RDX1111.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_photo_RB7RDX1111.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_card_RB7RDX1111.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_brandcatalogue.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_price.pdf
CKNPMXRB7PDXXXX1 | RB7PDXXXX1 | PRIMAX | Beverage Counter 1 door Remote | 1 door beverage counter for remote unit | Beverage counter with 1 door for remote cooling unit. Monocoque construction in AISI304 stainless steel with Scotch Brite external finish. High density polyurethane foam insulation 60mm thick. Electronic control with automatic defrosting and condensate evaporation. | 580 | mm | 685 | mm | 850 | mm |  |  | 2010 |  | EUR |  |  | Beverage Counters | remote cooling,R290,electronic control |  |  |  | simple |  | internal_volume | 210 Lt | temperature_range | +2/+10°C | voltage | 230/1/50 | power | 0.23 kW | refrigerant | R290 |  |  | active | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_video_RB7PDXXXX1.mp4 | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_RB7PDXXXX1.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_2_RB7PDXXXX1.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_3_RB7PDXXXX1.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_datasheet_RB7PDXXXX1.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_manual_RB7PDXXXX1.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_technicalmanual_RB7PDXXXX1.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_drawing_RB7PDXXXX1.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_catalogue_RB7PDXXXX1.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_photo_RB7PDXXXX1.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_card_RB7PDXXXX1.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_brandcatalogue.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_price.pdf
CKNPMXRB7PDXXX11 | RB7PDXXX11 | PRIMAX | Beverage Counter 2 doors Remote | 2 doors beverage counter for remote unit | Beverage counter with 2 doors for remote cooling unit. Monocoque construction in AISI304 stainless steel with Scotch Brite external finish. High density polyurethane foam insulation 60mm thick. Electronic control with automatic defrosting and condensate evaporation. | 1150 | mm | 685 | mm | 850 | mm |  |  | 2865 |  | EUR |  |  | Beverage Counters | remote cooling,R290,electronic control |  |  |  | simple |  | internal_volume | 462 Lt | temperature_range | +2/+10°C | voltage | 230/1/50 | power | 0.23 kW | refrigerant | R290 |  |  | active | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_video_RB7PDXXX11.mp4 | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_RB7PDXXX11.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_2_RB7PDXXX11.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_3_RB7PDXXX11.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_datasheet_RB7PDXXX11.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_manual_RB7PDXXX11.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_technicalmanual_RB7PDXXX11.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_drawing_RB7PDXXX11.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_catalogue_RB7PDXXX11.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_photo_RB7PDXXX11.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_card_RB7PDXXX11.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_brandcatalogue.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_price.pdf
CKNPMXRB7PDXX111 | RB7PDXX111 | PRIMAX | Beverage Counter 3 doors Remote | 3 doors beverage counter for remote unit | Beverage counter with 3 doors for remote cooling unit. Monocoque construction in AISI304 stainless steel with Scotch Brite external finish. High density polyurethane foam insulation 60mm thick. Electronic control with automatic defrosting and condensate evaporation. | 1740 | mm | 685 | mm | 850 | mm |  |  | 3835 |  | EUR |  |  | Beverage Counters | remote cooling,R290,electronic control |  |  |  | simple |  | internal_volume | 715 Lt | temperature_range | +2/+10°C | voltage | 230/1/50 | power | 0.46 kW | refrigerant | R290 |  |  | active | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_video_RB7PDXX111.mp4 | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_RB7PDXX111.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_2_RB7PDXX111.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_3_RB7PDXX111.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_datasheet_RB7PDXX111.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_manual_RB7PDXX111.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_technicalmanual_RB7PDXX111.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_drawing_RB7PDXX111.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_catalogue_RB7PDXX111.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_photo_RB7PDXX111.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_card_RB7PDXX111.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_brandcatalogue.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_price.pdf
CKNPMXRB7PDX1111 | RB7PDX1111 | PRIMAX | Beverage Counter 4 doors Remote | 4 doors beverage counter for remote unit | Beverage counter with 4 doors for remote cooling unit. Monocoque construction in AISI304 stainless steel with Scotch Brite external finish. High density polyurethane foam insulation 60mm thick. Electronic control with automatic defrosting and condensate evaporation. | 2320 | mm | 685 | mm | 850 | mm |  |  | 4680 |  | EUR |  |  | Beverage Counters | remote cooling,R290,electronic control |  |  |  | simple |  | internal_volume | 968 Lt | temperature_range | +2/+10°C | voltage | 230/1/50 | power | 0.7 kW | refrigerant | R290 |  |  | active | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_video_RB7PDX1111.mp4 | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_RB7PDX1111.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_2_RB7PDX1111.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_3_RB7PDX1111.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_datasheet_RB7PDX1111.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_manual_RB7PDX1111.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_technicalmanual_RB7PDX1111.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_drawing_RB7PDX1111.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_catalogue_RB7PDX1111.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_photo_RB7PDX1111.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_card_RB7PDX1111.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_brandcatalogue.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_price.pdf
CKNPMXRB7VDXXXX1 | RB7VDXXXX1 | PRIMAX | Beverage Counter 1 door with Tub | 1 door beverage counter with tub | Beverage counter with 1 door and integrated tub. Monocoque construction in AISI304 stainless steel with Scotch Brite external finish. High density polyurethane foam insulation 60mm thick. Environmentally friendly refrigerant gas R290. Electronic control with visual and audible alarms. | 930 | mm | 685 | mm | 850 | mm |  |  | 2960 |  | EUR |  |  | Beverage Counters | R290,air condensation,electronic control,with tub |  |  |  | simple |  | internal_volume | 210 Lt | temperature_range | +2/+10°C | voltage | 230/1/50 | power | 0.306 kW | refrigerant | R290 |  |  | active | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_video_RB7VDXXXX1.mp4 | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_RB7VDXXXX1.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_2_RB7VDXXXX1.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_3_RB7VDXXXX1.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_datasheet_RB7VDXXXX1.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_manual_RB7VDXXXX1.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_technicalmanual_RB7VDXXXX1.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_drawing_RB7VDXXXX1.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_catalogue_RB7VDXXXX1.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_photo_RB7VDXXXX1.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_card_RB7VDXXXX1.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_brandcatalogue.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_price.pdf
CKNPMXRB7VDXXX11 | RB7VDXXX11 | PRIMAX | Beverage Counter 2 doors with Tub | 2 doors beverage counter with tub | Beverage counter with 2 doors and integrated tub. Monocoque construction in AISI304 stainless steel with Scotch Brite external finish. High density polyurethane foam insulation 60mm thick. Environmentally friendly refrigerant gas R290. Electronic control with visual and audible alarms. | 1510 | mm | 685 | mm | 850 | mm |  |  | 3800 |  | EUR |  |  | Beverage Counters | R290,air condensation,electronic control,with tub |  |  |  | simple |  | internal_volume | 462 Lt | temperature_range | +2/+10°C | voltage | 230/1/50 | power | 0.306 kW | refrigerant | R290 |  |  | active | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_video_RB7VDXXX11.mp4 | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_RB7VDXXX11.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_2_RB7VDXXX11.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_3_RB7VDXXX11.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_datasheet_RB7VDXXX11.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_manual_RB7VDXXX11.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_technicalmanual_RB7VDXXX11.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_drawing_RB7VDXXX11.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_catalogue_RB7VDXXX11.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_photo_RB7VDXXX11.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_card_RB7VDXXX11.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_brandcatalogue.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_price.pdf
CKNPMXRB7VDXX111 | RB7VDXX111 | PRIMAX | Beverage Counter 3 doors with Tub | 3 doors beverage counter with tub | Beverage counter with 3 doors and integrated tub. Monocoque construction in AISI304 stainless steel with Scotch Brite external finish. High density polyurethane foam insulation 60mm thick. Environmentally friendly refrigerant gas R290. Electronic control with visual and audible alarms. | 2090 | mm | 685 | mm | 850 | mm |  |  | 4770 |  | EUR |  |  | Beverage Counters | R290,air condensation,electronic control,with tub |  |  |  | simple |  | internal_volume | 715 Lt | temperature_range | +2/+10°C | voltage | 230/1/50 | power | 0.329 kW | refrigerant | R290 |  |  | active | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_video_RB7VDXX111.mp4 | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_RB7VDXX111.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_2_RB7VDXX111.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_3_RB7VDXX111.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_datasheet_RB7VDXX111.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_manual_RB7VDXX111.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_technicalmanual_RB7VDXX111.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_drawing_RB7VDXX111.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_catalogue_RB7VDXX111.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_photo_RB7VDXX111.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_card_RB7VDXX111.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_brandcatalogue.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_price.pdf
CKNPMXRB7VDX1111 | RB7VDX1111 | PRIMAX | Beverage Counter 4 doors with Tub | 4 doors beverage counter with tub | Beverage counter with 4 doors and integrated tub. Monocoque construction in AISI304 stainless steel with Scotch Brite external finish. High density polyurethane foam insulation 60mm thick. Environmentally friendly refrigerant gas R290. Electronic control with visual and audible alarms. | 2670 | mm | 685 | mm | 850 | mm |  |  | 5685 |  | EUR |  |  | Beverage Counters | R290,air condensation,electronic control,with tub |  |  |  | simple |  | internal_volume | 968 Lt | temperature_range | +2/+10°C | voltage | 230/1/50 | power | 0.557 kW | refrigerant | R290 |  |  | active | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_video_RB7VDX1111.mp4 | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_RB7VDX1111.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_2_RB7VDX1111.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_3_RB7VDX1111.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_datasheet_RB7VDX1111.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_manual_RB7VDX1111.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_technicalmanual_RB7VDX1111.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_drawing_RB7VDX1111.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_catalogue_RB7VDX1111.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_photo_RB7VDX1111.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_card_RB7VDX1111.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_brandcatalogue.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_price.pdf
CKNPMXRB7VPDXXXX1 | RB7VPDXXXX1 | PRIMAX | Beverage Counter 1 door with Tub Remote | 1 door beverage counter with tub for remote cooling | Beverage counter with 1 door and integrated tub for remote cooling unit. Monocoque construction in AISI304 stainless steel with Scotch Brite external finish. High density polyurethane foam insulation 60mm thick. Electronic control with automatic defrosting and condensate evaporation. | 930 | mm | 685 | mm | 850 | mm |  |  | 2515 |  | EUR |  |  | Beverage Counters | remote cooling,R290,electronic control,with tub |  |  |  | simple |  | internal_volume | 210 Lt | temperature_range | +2/+10°C | voltage | 230/1/50 | power | 0.23 kW | refrigerant | R290 |  |  | active | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_video_RB7VPDXXXX1.mp4 | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_RB7VPDXXXX1.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_2_RB7VPDXXXX1.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_3_RB7VPDXXXX1.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_datasheet_RB7VPDXXXX1.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_manual_RB7VPDXXXX1.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_technicalmanual_RB7VPDXXXX1.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_drawing_RB7VPDXXXX1.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_catalogue_RB7VPDXXXX1.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_photo_RB7VPDXXXX1.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_card_RB7VPDXXXX1.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_brandcatalogue.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_price.pdf
CKNPMXRB7VPDXXX11 | RB7VPDXXX11 | PRIMAX | Beverage Counter 2 doors with Tub Remote | 2 doors beverage counter with tub for remote cooling | Beverage counter with 2 doors and integrated tub for remote cooling unit. Monocoque construction in AISI304 stainless steel with Scotch Brite external finish. High density polyurethane foam insulation 60mm thick. Electronic control with automatic defrosting and condensate evaporation. | 1510 | mm | 685 | mm | 850 | mm |  |  | 3350 |  | EUR |  |  | Beverage Counters | remote cooling,R290,electronic control,with tub |  |  |  | simple |  | internal_volume | 462 Lt | temperature_range | +2/+10°C | voltage | 230/1/50 | power | 0.23 kW | refrigerant | R290 |  |  | active | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_video_RB7VPDXXX11.mp4 | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_RB7VPDXXX11.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_2_RB7VPDXXX11.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_3_RB7VPDXXX11.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_datasheet_RB7VPDXXX11.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_manual_RB7VPDXXX11.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_technicalmanual_RB7VPDXXX11.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_drawing_RB7VPDXXX11.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_catalogue_RB7VPDXXX11.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_photo_RB7VPDXXX11.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_card_RB7VPDXXX11.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_brandcatalogue.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_price.pdf
CKNPMXRB7VPDXX111 | RB7VPDXX111 | PRIMAX | Beverage Counter 3 doors with Tub Remote | 3 doors beverage counter with tub for remote cooling | Beverage counter with 3 doors and integrated tub for remote cooling unit. Monocoque construction in AISI304 stainless steel with Scotch Brite external finish. High density polyurethane foam insulation 60mm thick. Electronic control with automatic defrosting and condensate evaporation. | 2090 | mm | 685 | mm | 850 | mm |  |  | 4330 |  | EUR |  |  | Beverage Counters | remote cooling,R290,electronic control,with tub |  |  |  | simple |  | internal_volume | 715 Lt | temperature_range | +2/+10°C | voltage | 230/1/50 | power | 0.46 kW | refrigerant | R290 |  |  | active | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_video_RB7VPDXX111.mp4 | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_RB7VPDXX111.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_2_RB7VPDXX111.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_3_RB7VPDXX111.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_datasheet_RB7VPDXX111.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_manual_RB7VPDXX111.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_technicalmanual_RB7VPDXX111.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_drawing_RB7VPDXX111.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_catalogue_RB7VPDXX111.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_photo_RB7VPDXX111.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_card_RB7VPDXX111.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_brandcatalogue.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_price.pdf
CKNPMXRB7VPDX1111 | RB7VPDX1111 | PRIMAX | Beverage Counter 4 doors with Tub Remote | 4 doors beverage counter with tub for remote cooling | Beverage counter with 4 doors and integrated tub for remote cooling unit. Monocoque construction in AISI304 stainless steel with Scotch Brite external finish. High density polyurethane foam insulation 60mm thick. Electronic control with automatic defrosting and condensate evaporation. | 2670 | mm | 685 | mm | 850 | mm |  |  | 5235 |  | EUR |  |  | Beverage Counters | remote cooling,R290,electronic control,with tub |  |  |  | simple |  | internal_volume | 968 Lt | temperature_range | +2/+10°C | voltage | 230/1/50 | power | 0.7 kW | refrigerant | R290 |  |  | active | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_video_RB7VPDX1111.mp4 | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_RB7VPDX1111.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_2_RB7VPDX1111.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_3_RB7VPDX1111.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_datasheet_RB7VPDX1111.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_manual_RB7VPDX1111.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_technicalmanual_RB7VPDX1111.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_drawing_RB7VPDX1111.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_catalogue_RB7VPDX1111.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_photo_RB7VPDX1111.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_card_RB7VPDX1111.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_brandcatalogue.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_price.pdf
CKNPMXRW1RD | RW1RD | PRIMAX | Refrigerated Waste Box 1 container | Refrigerated waste box for 1 container 120/240 Lt | Refrigerated waste box for 1 container 120/240 Lt (not supplied). Sandwich panels made entirely of AISI 304 stainless steel polished inside Scotch Brite outside. 60mm insulation in CFC and HCFC free polyurethane high density. On board cooling system with automatic defrosting. | 1100 | mm | 875 | mm | 1280 | mm |  |  | 4485 |  | EUR |  |  | Refrigerated Waste Boxes | R290,air condensation,electronic control,automatic defrosting |  |  |  | simple |  | internal_volume | 460 Lt | temperature_range | +2/+10°C | voltage | 230/1/50 | power | 0.3 kW | refrigerant | R290 |  |  | active | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_video_RW1RD.mp4 | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_RW1RD.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_2_RW1RD.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_3_RW1RD.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_datasheet_RW1RD.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_manual_RW1RD.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_technicalmanual_RW1RD.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_drawing_RW1RD.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_catalogue_RW1RD.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_photo_RW1RD.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_card_RW1RD.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_brandcatalogue.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_price.pdf
CKNPMXRW2RD | RW2RD | PRIMAX | Refrigerated Waste Box 2 containers | Refrigerated waste box for 2 containers 120/240 Lt | Refrigerated waste box for 2 containers 120/240 Lt (not supplied). Sandwich panels made entirely of AISI 304 stainless steel polished inside Scotch Brite outside. 60mm insulation in CFC and HCFC free polyurethane high density. On board cooling system with automatic defrosting. | 1750 | mm | 875 | mm | 1280 | mm |  |  | 5955 |  | EUR |  |  | Refrigerated Waste Boxes | R290,air condensation,electronic control,automatic defrosting |  |  |  | simple |  | internal_volume | 910 Lt | temperature_range | +2/+10°C | voltage | 230/1/50 | power | 0.3 kW | refrigerant | R290 |  |  | active | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_video_RW2RD.mp4 | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_RW2RD.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_2_RW2RD.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_3_RW2RD.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_datasheet_RW2RD.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_manual_RW2RD.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_technicalmanual_RW2RD.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_drawing_RW2RD.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_catalogue_RW2RD.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_photo_RW2RD.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_card_RW2RD.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_brandcatalogue.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_price.pdf
CKNPMXRW3RD | RW3RD | PRIMAX | Refrigerated Waste Box 3 containers | Refrigerated waste box for 3 containers 120/240 Lt | Refrigerated waste box for 3 containers 120/240 Lt (not supplied). Sandwich panels made entirely of AISI 304 stainless steel polished inside Scotch Brite outside. 60mm insulation in CFC and HCFC free polyurethane high density. On board cooling system with automatic defrosting. | 2400 | mm | 875 | mm | 1280 | mm |  |  | 7100 |  | EUR |  |  | Refrigerated Waste Boxes | R290,air condensation,electronic control,automatic defrosting |  |  |  | simple |  | internal_volume | 1370 Lt | temperature_range | +2/+10°C | voltage | 230/1/50 | power | 0.515 kW | refrigerant | R290 |  |  | active | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_video_RW3RD.mp4 | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_RW3RD.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_2_RW3RD.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_3_RW3RD.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_datasheet_RW3RD.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_manual_RW3RD.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_technicalmanual_RW3RD.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_drawing_RW3RD.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_catalogue_RW3RD.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_photo_RW3RD.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_card_RW3RD.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_brandcatalogue.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_price.pdf
CKNPMXRW1PD | RW1PD | PRIMAX | Refrigerated Waste Box 1 container Remote | Refrigerated waste box 1 container for remote cooling | Refrigerated waste box for 1 container 120/240 Lt (not supplied) with remote cooling. Sandwich panels made entirely of AISI 304 stainless steel polished inside Scotch Brite outside. 60mm insulation in CFC and HCFC free polyurethane high density. Electronic control with automatic defrosting and condensate evaporation. | 950 | mm | 875 | mm | 1280 | mm |  |  | 3770 |  | EUR |  |  | Refrigerated Waste Boxes | remote cooling,R290,electronic control,automatic defrosting |  |  |  | simple |  | internal_volume | 460 Lt | temperature_range | +2/+10°C | voltage | 230/1/50 | power | 0.2 kW | refrigerant | R290 |  |  | active | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_video_RW1PD.mp4 | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_RW1PD.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_2_RW1PD.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_3_RW1PD.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_datasheet_RW1PD.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_manual_RW1PD.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_technicalmanual_RW1PD.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_drawing_RW1PD.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_catalogue_RW1PD.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_photo_RW1PD.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_card_RW1PD.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_brandcatalogue.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_price.pdf
CKNPMXRW2PD | RW2PD | PRIMAX | Refrigerated Waste Box 2 containers Remote | Refrigerated waste box 2 containers for remote cooling | Refrigerated waste box for 2 containers 120/240 Lt (not supplied) with remote cooling. Sandwich panels made entirely of AISI 304 stainless steel polished inside Scotch Brite outside. 60mm insulation in CFC and HCFC free polyurethane high density. Electronic control with automatic defrosting and condensate evaporation. | 1600 | mm | 875 | mm | 1280 | mm |  |  | 4925 |  | EUR |  |  | Refrigerated Waste Boxes | remote cooling,R290,electronic control,automatic defrosting |  |  |  | simple |  | internal_volume | 910 Lt | temperature_range | +2/+10°C | voltage | 230/1/50 | power | 0.2 kW | refrigerant | R290 |  |  | active | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_video_RW2PD.mp4 | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_RW2PD.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_2_RW2PD.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_3_RW2PD.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_datasheet_RW2PD.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_manual_RW2PD.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_technicalmanual_RW2PD.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_drawing_RW2PD.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_catalogue_RW2PD.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_photo_RW2PD.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_card_RW2PD.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_brandcatalogue.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_price.pdf
CKNPMXRW3PD | RW3PD | PRIMAX | Refrigerated Waste Box 3 containers Remote | Refrigerated waste box 3 containers for remote cooling | Refrigerated waste box for 3 containers 120/240 Lt (not supplied) with remote cooling. Sandwich panels made entirely of AISI 304 stainless steel polished inside Scotch Brite outside. 60mm insulation in CFC and HCFC free polyurethane high density. Electronic control with automatic defrosting and condensate evaporation. | 2250 | mm | 875 | mm | 1280 | mm |  |  | 6295 |  | EUR |  |  | Refrigerated Waste Boxes | remote cooling,R290,electronic control,automatic defrosting |  |  |  | simple |  | internal_volume | 1370 Lt | temperature_range | +2/+10°C | voltage | 230/1/50 | power | 0.41 kW | refrigerant | R290 |  |  | active | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_video_RW3PD.mp4 | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_RW3PD.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_2_RW3PD.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_image_3_RW3PD.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_datasheet_RW3PD.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_manual_RW3PD.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_technicalmanual_RW3PD.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_drawing_RW3PD.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_catalogue_RW3PD.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_photo_RW3PD.jpg | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_card_RW3PD.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_brandcatalogue.pdf | https://raw.githubusercontent.com/cooknation/primax/refs/heads/main/primax_price.pdf